## Planilha1
Codigo Original | DE/PARA | descrição | PARA ( DESCRIÇÃO)
90301 | 90302 | ALCA PREF CORD ACO-ZN 6,40MM 5X2.18MM 460MM AMR | ALCA PREF CORD ACO-ZN 9,50MM 6X2.54MM 660MM LRJ
90301 | 90306 | ALCA PREF CORD ACO-ZN 6,40MM 5X2.18MM 460MM AMR | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM
90302 | 90301 | ALCA PREF CORD ACO-ZN 9,50MM 6X2.54MM 660MM LRJ | ALCA PREF CORD ACO-ZN 6,40MM 5X2.18MM 460MM AMR
90302 | 90557 | ALCA PREF CORD ACO-ZN 9,50MM 6X2.54MM 660MM LRJ | ALCA PREF DISTR ACO-ZINC 9,80-10,85MM 710MM PRT
90302 | 90306 | ALCA PREF CORD ACO-ZN 9,50MM 6X2.54MM 660MM LRJ | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM
90013 | 90306 | ALCA PREF CORD ACO-ZN 9,50MM 6X2.54MM 965MM LRJ | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM
90013 | 90306 | ALCA PREF CORD ACO-ZN 9,50MM 6X2.54MM 965MM LRJ | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM
90685 | 90306 | ALCA PREF DISTR ACO-ZINC 10,30-11,55MM 710MM AZL | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM
90686 | 90683 | ALCA PREF DISTR ACO-ZINC 11,60-13,00MM 815MM LRJ | ALCA PREF DISTR ACO-ZINC 5,70-6,45MM 430MM LRJ
90686 | 90683 | ALCA PREF DISTR ACO-ZINC 11,60-13,00MM 815MM LRJ | ALCA PREF DISTR ACO-ZINC 5,70-6,45MM 430MM LRJ
90683 | 90306 | ALCA PREF DISTR ACO-ZINC 5,70-6,45MM 430MM LRJ | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM
90683 | 90686 | ALCA PREF DISTR ACO-ZINC 5,70-6,45MM 430MM LRJ | ALCA PREF DISTR ACO-ZINC 11,60-13,00MM 815MM LRJ
90683 | 90686 | ALCA PREF DISTR ACO-ZINC 5,70-6,45MM 430MM LRJ | ALCA PREF DISTR ACO-ZINC 11,60-13,00MM 815MM LRJ
90306 | 90683 | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM | ALCA PREF DISTR ACO-ZINC 5,70-6,45MM 430MM LRJ
90306 | 90013 | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM | ALCA PREF CORD ACO-ZN 9,50MM 6X2.54MM 965MM LRJ
90306 | 90685 | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM | ALCA PREF DISTR ACO-ZINC 10,30-11,55MM 710MM AZL
90306 | 90302 | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM | ALCA PREF CORD ACO-ZN 9,50MM 6X2.54MM 660MM LRJ
90306 | 90301 | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM | ALCA PREF CORD ACO-ZN 6,40MM 5X2.18MM 460MM AMR
90306 | 90557 | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM | ALCA PREF DISTR ACO-ZINC 9,80-10,85MM 710MM PRT
90306 | 90013 | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM | ALCA PREF CORD ACO-ZN 9,50MM 6X2.54MM 965MM LRJ
90557 | 90302 | ALCA PREF DISTR ACO-ZINC 9,80-10,85MM 710MM PRT | ALCA PREF CORD ACO-ZN 9,50MM 6X2.54MM 660MM LRJ
90557 | 90306 | ALCA PREF DISTR ACO-ZINC 9,80-10,85MM 710MM PRT | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM
90304 | 90724 | ALCA PREF SERV ACO-ZINC 4,90-5,40MM 305MM BRC | ALCA PREF SERV CONC ACO-ZINC 9,80-10,50MM 355MM AMR
90724 | 90304 | ALCA PREF SERV CONC ACO-ZINC 9,80-10,50MM 355MM AMR | ALCA PREF SERV ACO-ZINC 4,90-5,40MM 305MM BRC
91190 | 90835 | CABO ACO COBREADO 1F LCA IACS53% 3X2,06MM 10MM2 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2
91190 | 90835 | CABO ACO COBREADO 1F LCA IACS53% 3X2,06MM 10MM2 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2
90836 | 90835 | CABO ACO COBREADO 1F LCA IACS53% 3X2,59MM 16MM2 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2
90836 | 90835 | CABO ACO COBREADO 1F LCA IACS53% 3X2,59MM 16MM2 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2
90257 | 90835 | CABO ACO COBREADO 1F LCA IACS53% 7X2,06MM 25MM2 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2
90257 | 90835 | CABO ACO COBREADO 1F LCA IACS53% 7X2,06MM 25MM2 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2
90835 | 91190 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2 | CABO ACO COBREADO 1F LCA IACS53% 3X2,06MM 10MM2
90835 | 90836 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2 | CABO ACO COBREADO 1F LCA IACS53% 3X2,59MM 16MM2
90835 | 90257 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2 | CABO ACO COBREADO 1F LCA IACS53% 7X2,06MM 25MM2
90835 | 91190 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2 | CABO ACO COBREADO 1F LCA IACS53% 3X2,06MM 10MM2
90835 | 90257 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2 | CABO ACO COBREADO 1F LCA IACS53% 7X2,06MM 25MM2
90835 | 90836 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2 | CABO ACO COBREADO 1F LCA IACS53% 3X2,59MM 16MM2
90284 | 90288 | CABO ALUM MULTIPLEX 0,6/1,0KV XLPE 2F 2X1X35MM2+35MM2 | CABO ALUM MULTIPLEX 0,6/1,0KV XLPE 3F 3X1X35MM2+35MM2
90288 | 90284 | CABO ALUM MULTIPLEX 0,6/1,0KV XLPE 3F 3X1X35MM2+35MM2 | CABO ALUM MULTIPLEX 0,6/1,0KV XLPE 2F 2X1X35MM2+35MM2
90288 | 90284 | CABO ALUM MULTIPLEX 0,6/1,0KV XLPE 3F 3X1X35MM2+35MM2 | CABO ALUM MULTIPLEX 0,6/1,0KV XLPE 2F 2X1X35MM2+35MM2
90289 | 90562 | CABO ALUM MULTIPLEX 0,6/1,0KV XLPE 3F 3X1X70MM2+70MM2 | CABO ALUM MULTIPLEX NI 0,6/1,0KV XLPE 3F 3X1X70MM2+70MM2
90562 | 90289 | CABO ALUM MULTIPLEX NI 0,6/1,0KV XLPE 3F 3X1X70MM2+70MM2 | CABO ALUM MULTIPLEX 0,6/1,0KV XLPE 3F 3X1X70MM2+70MM2
90258 | 90262 | CABO ALUM NU 1F CA/AAC 2AWG IRIS | CABO ALUM NU CAA/ASCR 1F 2AWG SPARROW
90262 | 90258 | CABO ALUM NU CAA/ASCR 1F 2AWG SPARROW | CABO ALUM NU 1F CA/AAC 2AWG IRIS
90265 | 90255 | CABO ALUM NU CAA/ASCR 1F 336,4MCM LINNET | CORDOALHA ACO CARB CL A 7 FIOS MR 6,4MM 1430DAN
90624 | 90266 | CABO ALUM PROT DUP XLPE/HDPE 1F 15,0KV 50MM2 BLOQ CNZ | CABO ALUM PROT SPL XLPE 1F 15,0KV 50MM2 BLOQ CNZ
90624 | 90266 | CABO ALUM PROT DUP XLPE/HDPE 1F 15,0KV 50MM2 BLOQ CNZ | CABO ALUM PROT SPL XLPE 1F 15,0KV 50MM2 BLOQ CNZ
90267 | 90268 | CABO ALUM PROT SPL XLPE 1F 15,0KV 120MM2 BLOQ CNZ | CABO ALUM PROT SPL XLPE 1F 15,0KV 185MM2 BLOQ CNZ
90266 | 90624 | CABO ALUM PROT SPL XLPE 1F 15,0KV 50MM2 BLOQ CNZ | CABO ALUM PROT DUP XLPE/HDPE 1F 15,0KV 50MM2 BLOQ CNZ
90266 | 90624 | CABO ALUM PROT SPL XLPE 1F 15,0KV 50MM2 BLOQ CNZ | CABO ALUM PROT DUP XLPE/HDPE 1F 15,0KV 50MM2 BLOQ CNZ
90269 | 90292 | CABO ALUM PROT SPL XLPE 1F 24,2KV 50MM2 BLOQ CNZ | CABO ALUM PROT SPL XLPE 1F 36,2KV 120MM2 BLOQ CNZ
90292 | 90269 | CABO ALUM PROT SPL XLPE 1F 36,2KV 120MM2 BLOQ CNZ | CABO ALUM PROT SPL XLPE 1F 24,2KV 50MM2 BLOQ CNZ
90487 | 90486 | CARTUCHO CONECTOR CUNHA METAL 14,8X5,7X7,0MM AZUL | CARTUCHO CONECTOR CUNHA METAL 24,3X5,7X7,0MM AMARELO
90488 | 90486 | CARTUCHO CONECTOR CUNHA METAL 14,8X5,7X7,0MM VERMELHO | CARTUCHO CONECTOR CUNHA METAL 24,3X5,7X7,0MM AMARELO
90486 | 90487 | CARTUCHO CONECTOR CUNHA METAL 24,3X5,7X7,0MM AMARELO | CARTUCHO CONECTOR CUNHA METAL 14,8X5,7X7,0MM AZUL
90486 | 90488 | CARTUCHO CONECTOR CUNHA METAL 24,3X5,7X7,0MM AMARELO | CARTUCHO CONECTOR CUNHA METAL 14,8X5,7X7,0MM VERMELHO
90486 | 90488 | CARTUCHO CONECTOR CUNHA METAL 24,3X5,7X7,0MM AMARELO | CARTUCHO CONECTOR CUNHA METAL 14,8X5,7X7,0MM VERMELHO
90486 | 90487 | CARTUCHO CONECTOR CUNHA METAL 24,3X5,7X7,0MM AMARELO | CARTUCHO CONECTOR CUNHA METAL 14,8X5,7X7,0MM AZUL
90561 | 90548 | CHAVE FUSIV DISTR PRC BSC 24,2KV 300A 1F MAN SEC | CHAVE FUSIV DISTR PRC BSC 36,2KV 300A 1F MAN SEC
90548 | 90561 | CHAVE FUSIV DISTR PRC BSC 36,2KV 300A 1F MAN SEC | CHAVE FUSIV DISTR PRC BSC 24,2KV 300A 1F MAN SEC
90553 | 90551 | CHAVE SECC DISTR FACA 1F PORC 36,2KV 400A MAN SEC CENT | CHAVE SECC DISTR FACA 1F PORC 15KV 400A MAN SEC CENT
522510 | 22510 | CLIP PARA FIXACAO DO KIT REDE INTERNA - MIGUELAO | CLIP PARA FIXACAO DO KIT REDE INTERNA - MIGUELAO
90347 | 90346 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 11,20-13,30MM/2AWG AZ | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 9,06-11,34MM/2AWG AZ
90347 | 90348 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 11,20-13,30MM/2AWG AZ | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 14,88-16,30MM/1/0AWG AM
90347 | 90346 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 11,20-13,30MM/2AWG AZ | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 9,06-11,34MM/2AWG AZ
90348 | 90347 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 14,88-16,30MM/1/0AWG AM | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 11,20-13,30MM/2AWG AZ
90349 | 90345 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 16,90-17,35MM/4/0AWG AM | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM
90349 | 90345 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 16,90-17,35MM/4/0AWG AM | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM
90345 | 90346 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 9,06-11,34MM/2AWG AZ
90345 | 90349 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 16,90-17,35MM/4/0AWG AM
90345 | 22507 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM | PT 40B EL AZUL+ESTRIBO LATERAL P/CUNHA TIPO II.
90345 | 90346 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 9,06-11,34MM/2AWG AZ
90345 | 22507 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM | PT 40B EL AZUL+ESTRIBO LATERAL P/CUNHA TIPO II.
90345 | 90349 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 16,90-17,35MM/4/0AWG AM
90346 | 90347 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 9,06-11,34MM/2AWG AZ | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 11,20-13,30MM/2AWG AZ
90346 | 90345 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 9,06-11,34MM/2AWG AZ | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM
90346 | 90347 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 9,06-11,34MM/2AWG AZ | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 11,20-13,30MM/2AWG AZ
90346 | 90345 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 9,06-11,34MM/2AWG AZ | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM
90471 | 90797 | CONEC DERIV CUNHA-RML COBR I 3,17-8,12/3,17-7,42MM CZ | CONECTOR CUNHA ALUM CN-13 6,55-10,11/5,18-8,38MM VRM
90471 | 90472 | CONEC DERIV CUNHA-RML COBR I 3,17-8,12/3,17-7,42MM CZ | CONEC DERIV CUNHA-RML COBR II 3,17-8,12/3,17-5,21MM VD
90471 | 90797 | CONEC DERIV CUNHA-RML COBR I 3,17-8,12/3,17-7,42MM CZ | CONECTOR CUNHA ALUM CN-13 6,55-10,11/5,18-8,38MM VRM
90471 | 90472 | CONEC DERIV CUNHA-RML COBR I 3,17-8,12/3,17-7,42MM CZ | CONEC DERIV CUNHA-RML COBR II 3,17-8,12/3,17-5,21MM VD
90472 | 90471 | CONEC DERIV CUNHA-RML COBR II 3,17-8,12/3,17-5,21MM VD | CONEC DERIV CUNHA-RML COBR I 3,17-8,12/3,17-7,42MM CZ
90340 | 90341 | CONECT TERM ESTRANG CB/BAR ALUM 1F 48X18MM 6.70-7.30MM | CONECT TERM ESTRANG CB/BAR ALUM 2F 106X22MM 9.00-9.70MM
90340 | 90341 | CONECT TERM ESTRANG CB/BAR ALUM 1F 48X18MM 6.70-7.30MM | CONECT TERM ESTRANG CB/BAR ALUM 2F 106X22MM 9.00-9.70MM
90341 | 90340 | CONECT TERM ESTRANG CB/BAR ALUM 2F 106X22MM 9.00-9.70MM | CONECT TERM ESTRANG CB/BAR ALUM 1F 48X18MM 6.70-7.30MM
90341 | 90342 | CONECT TERM ESTRANG CB/BAR ALUM 2F 106X22MM 9.00-9.70MM | CONECT TERM ESTRANG CB/BAR ALUM 2F 123X25MM 11.20-12.30MM
90341 | 90340 | CONECT TERM ESTRANG CB/BAR ALUM 2F 106X22MM 9.00-9.70MM | CONECT TERM ESTRANG CB/BAR ALUM 1F 48X18MM 6.70-7.30MM
90342 | 90341 | CONECT TERM ESTRANG CB/BAR ALUM 2F 123X25MM 11.20-12.30MM | CONECT TERM ESTRANG CB/BAR ALUM 2F 106X22MM 9.00-9.70MM
1026 | 90823 | CONECTOR ATER BZ HT 5/8/CB 70MM | CONECTOR ATERR CUNHA COBRE CB/HST 25-35MM2 14,3MM
90490 | 90823 | CONECTOR ATERR CUNHA COBRE CB/HST 16-25MM2 14,3MM | CONECTOR ATERR CUNHA COBRE CB/HST 25-35MM2 14,3MM
90490 | 9552 | CONECTOR ATERR CUNHA COBRE CB/HST 16-25MM2 14,3MM | CONECTOR TERMINAL CT -95 1F/1C
90823 | 90490 | CONECTOR ATERR CUNHA COBRE CB/HST 25-35MM2 14,3MM | CONECTOR ATERR CUNHA COBRE CB/HST 16-25MM2 14,3MM
90823 | 90489 | CONECTOR ATERR CUNHA COBRE CB/HST 25-35MM2 14,3MM | CONECTOR ATERR CUNHA TRANSV COBRE CB/HST 25-35MM2 14,3MM
90823 | 1026 | CONECTOR ATERR CUNHA COBRE CB/HST 25-35MM2 14,3MM | CONECTOR ATER BZ HT 5/8/CB 70MM
90489 | 90823 | CONECTOR ATERR CUNHA TRANSV COBRE CB/HST 25-35MM2 14,3MM | CONECTOR ATERR CUNHA COBRE CB/HST 25-35MM2 14,3MM
90791 | 90797 | CONECTOR CUNHA ALUM CN-10 8,23-14,53/4,11-11,79MM AZL | CONECTOR CUNHA ALUM CN-13 6,55-10,11/5,18-8,38MM VRM
90797 | 90471 | CONECTOR CUNHA ALUM CN-13 6,55-10,11/5,18-8,38MM VRM | CONEC DERIV CUNHA-RML COBR I 3,17-8,12/3,17-7,42MM CZ
90797 | 90791 | CONECTOR CUNHA ALUM CN-13 6,55-10,11/5,18-8,38MM VRM | CONECTOR CUNHA ALUM CN-10 8,23-14,53/4,11-11,79MM AZL
90797 | 90471 | CONECTOR CUNHA ALUM CN-13 6,55-10,11/5,18-8,38MM VRM | CONEC DERIV CUNHA-RML COBR I 3,17-8,12/3,17-7,42MM CZ
90821 | 90352 | CONECTOR DERIV PERF RDP CB/CB 15,0KV 35-70MM2/35-70MM2 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 35-95MM2/1,5-6,0MM2
90353 | 90355 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 16-120MM2/4,0-35MM2 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 35-120MM2/10-35MM2
90353 | 90354 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 16-120MM2/4,0-35MM2 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 25-95MM2/25-95MM2
90353 | 90352 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 16-120MM2/4,0-35MM2 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 35-95MM2/1,5-6,0MM2
90353 | 90353 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 16-120MM2/4,0-35MM2 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 16-120MM2/4,0-35MM2
90353 | 90353 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 16-120MM2/4,0-35MM2 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 16-120MM2/4,0-35MM2
90353 | 90354 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 16-120MM2/4,0-35MM2 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 25-95MM2/25-95MM2
90354 | 90353 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 25-95MM2/25-95MM2 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 16-120MM2/4,0-35MM2
90355 | 90353 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 35-120MM2/10-35MM2 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 16-120MM2/4,0-35MM2
90352 | 90353 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 35-95MM2/1,5-6,0MM2 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 16-120MM2/4,0-35MM2
90352 | 90821 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 35-95MM2/1,5-6,0MM2 | CONECTOR DERIV PERF RDP CB/CB 15,0KV 35-70MM2/35-70MM2
92172 | 90461 | CONECTOR GRAMPO LINHA VIVA ALUM 34-170MM2/ESTRIBO 6,4MM 100A | CONECTOR GRAMPO LINHA VIVA ALUM 35-120MM2/10-95MM2 400A
92172 | 90460 | CONECTOR GRAMPO LINHA VIVA ALUM 34-170MM2/ESTRIBO 6,4MM 100A | CONECTOR GRAMPO LINHA VIVA COBR 2-1/0AWG/8-2/0AWG 100A
90461 | 92172 | CONECTOR GRAMPO LINHA VIVA ALUM 35-120MM2/10-95MM2 400A | CONECTOR GRAMPO LINHA VIVA ALUM 34-170MM2/ESTRIBO 6,4MM 100A
90461 | 90460 | CONECTOR GRAMPO LINHA VIVA ALUM 35-120MM2/10-95MM2 400A | CONECTOR GRAMPO LINHA VIVA COBR 2-1/0AWG/8-2/0AWG 100A
90461 | 90460 | CONECTOR GRAMPO LINHA VIVA ALUM 35-120MM2/10-95MM2 400A | CONECTOR GRAMPO LINHA VIVA COBR 2-1/0AWG/8-2/0AWG 100A
90460 | 90461 | CONECTOR GRAMPO LINHA VIVA COBR 2-1/0AWG/8-2/0AWG 100A | CONECTOR GRAMPO LINHA VIVA ALUM 35-120MM2/10-95MM2 400A
90460 | 92172 | CONECTOR GRAMPO LINHA VIVA COBR 2-1/0AWG/8-2/0AWG 100A | CONECTOR GRAMPO LINHA VIVA ALUM 34-170MM2/ESTRIBO 6,4MM 100A
90460 | 90461 | CONECTOR GRAMPO LINHA VIVA COBR 2-1/0AWG/8-2/0AWG 100A | CONECTOR GRAMPO LINHA VIVA ALUM 35-120MM2/10-95MM2 400A
9552 | 90490 | CONECTOR TERMINAL CT -95 1F/1C | CONECTOR ATERR CUNHA COBRE CB/HST 16-25MM2 14,3MM
90404 | 90496 | CRUZETA DISTR PRFV RETANG 90X112,5MM 2400MM 400DAN | CRUZETA DISTR PRFV TIPO T 90X90MM 1900MM 250DAN
90496 | 90404 | CRUZETA DISTR PRFV TIPO T 90X90MM 1900MM 250DAN | CRUZETA DISTR PRFV RETANG 90X112,5MM 2400MM 400DAN
90839 | 90858 | DISJUNTOR PROT TERMOMAG PEC IEC/DIN 1P 50A 240V 4,5KA CVC | DISJUNTOR TERMOMAGNETICO UNIPOLAR 127V 32A 4,5KA
90839 | 90858 | DISJUNTOR PROT TERMOMAG PEC IEC/DIN 1P 50A 240V 4,5KA CVC | DISJUNTOR TERMOMAGNETICO UNIPOLAR 127V 32A 4,5KA
90858 | 90839 | DISJUNTOR TERMOMAGNETICO UNIPOLAR 127V 32A 4,5KA | DISJUNTOR PROT TERMOMAG PEC IEC/DIN 1P 50A 240V 4,5KA CVC
90858 | 90839 | DISJUNTOR TERMOMAGNETICO UNIPOLAR 127V 32A 4,5KA | DISJUNTOR PROT TERMOMAG PEC IEC/DIN 1P 50A 240V 4,5KA CVC
90497 | 90498 | ELO FUSIVEL DISTRIBUICAO TIPO H 0,5A 500MM | ELO FUSIVEL DISTRIBUICAO TIPO H 1A 500MM
90497 | 90499 | ELO FUSIVEL DISTRIBUICAO TIPO H 0,5A 500MM | ELO FUSIVEL DISTRIBUICAO TIPO H 2A 500MM
90498 | 90497 | ELO FUSIVEL DISTRIBUICAO TIPO H 1A 500MM | ELO FUSIVEL DISTRIBUICAO TIPO H 0,5A 500MM
90499 | 90500 | ELO FUSIVEL DISTRIBUICAO TIPO H 2A 500MM | ELO FUSIVEL DISTRIBUICAO TIPO H 3A 500MM
90499 | 90497 | ELO FUSIVEL DISTRIBUICAO TIPO H 2A 500MM | ELO FUSIVEL DISTRIBUICAO TIPO H 0,5A 500MM
90500 | 90501 | ELO FUSIVEL DISTRIBUICAO TIPO H 3A 500MM | ELO FUSIVEL DISTRIBUICAO TIPO H 5A 500MM
90500 | 90499 | ELO FUSIVEL DISTRIBUICAO TIPO H 3A 500MM | ELO FUSIVEL DISTRIBUICAO TIPO H 2A 500MM
90501 | 90500 | ELO FUSIVEL DISTRIBUICAO TIPO H 5A 500MM | ELO FUSIVEL DISTRIBUICAO TIPO H 3A 500MM
90501 | 90502 | ELO FUSIVEL DISTRIBUICAO TIPO H 5A 500MM | ELO FUSIVEL DISTRIBUICAO TIPO K 6A 500MM
90501 | 90502 | ELO FUSIVEL DISTRIBUICAO TIPO H 5A 500MM | ELO FUSIVEL DISTRIBUICAO TIPO K 6A 500MM
90642 | 90640 | ELO FUSIVEL DISTRIBUICAO TIPO K 12A 500MM LARANJA | ELO FUSIVEL DISTRIBUICAO TIPO K 8A 500MM AZUL
90645 | 90639 | ELO FUSIVEL DISTRIBUICAO TIPO K 25A 500MM BRANCO | ELO FUSIVEL DISTRIBUICAO TIPO K 6A 500MM AMARELA
90502 | 90501 | ELO FUSIVEL DISTRIBUICAO TIPO K 6A 500MM | ELO FUSIVEL DISTRIBUICAO TIPO H 5A 500MM
90502 | 90501 | ELO FUSIVEL DISTRIBUICAO TIPO K 6A 500MM | ELO FUSIVEL DISTRIBUICAO TIPO H 5A 500MM
90639 | 90645 | ELO FUSIVEL DISTRIBUICAO TIPO K 6A 500MM AMARELA | ELO FUSIVEL DISTRIBUICAO TIPO K 25A 500MM BRANCO
90640 | 90642 | ELO FUSIVEL DISTRIBUICAO TIPO K 8A 500MM AZUL | ELO FUSIVEL DISTRIBUICAO TIPO K 12A 500MM LARANJA
90391 | 90392 | FIO AMARRACAO ALUMINIO MOLE 1F 6AWG 4.11MM 80DAN | FITA LISA P/ AMARRACAO CABO ALUM 1F 10,0X1,0MM
90391 | 1089 | FIO AMARRACAO ALUMINIO MOLE 1F 6AWG 4.11MM 80DAN | CABO CU MOLE 120MM2 0,6-1KV PVC PT
9551 | 91235 | FITA ISOLANTE 18MM X 10M AZUL TEMFLEX 3M | FITA ISOLANTE SIMPLES 750V 20M 19X0,76MM PRT
9551 | 91235 | FITA ISOLANTE 18MM X 10M AZUL TEMFLEX 3M | FITA ISOLANTE SIMPLES 750V 20M 19X0,76MM PRT
90415 | 91235 | FITA ISOLANTE SIMPLES 750V 10M 19X0,76MM PRT | FITA ISOLANTE SIMPLES 750V 20M 19X0,76MM PRT
90415 | 91235 | FITA ISOLANTE SIMPLES 750V 10M 19X0,76MM PRT | FITA ISOLANTE SIMPLES 750V 20M 19X0,76MM PRT
91235 | 9551 | FITA ISOLANTE SIMPLES 750V 20M 19X0,76MM PRT | FITA ISOLANTE 18MM X 10M AZUL TEMFLEX 3M
91235 | 90415 | FITA ISOLANTE SIMPLES 750V 20M 19X0,76MM PRT | FITA ISOLANTE SIMPLES 750V 10M 19X0,76MM PRT
91235 | 90415 | FITA ISOLANTE SIMPLES 750V 20M 19X0,76MM PRT | FITA ISOLANTE SIMPLES 750V 10M 19X0,76MM PRT
91235 | 9551 | FITA ISOLANTE SIMPLES 750V 20M 19X0,76MM PRT | FITA ISOLANTE 18MM X 10M AZUL TEMFLEX 3M
90392 | 9039 | FITA LISA P/ AMARRACAO CABO ALUM 1F 10,0X1,0MM | BUCHA DE REDUCAO A DIFERENTES (A50
90392 | 90391 | FITA LISA P/ AMARRACAO CABO ALUM 1F 10,0X1,0MM | FIO AMARRACAO ALUMINIO MOLE 1F 6AWG 4.11MM 80DAN
90786 | 90787 | FIXADOR PREF ACO-ZN MR-AR 9,5MM 1070MM LRJ | CONECTOR CUNHA ALUM CN-12 5,18-8,38/4,11-6,55MM VRM
90449 | 90457 | GRAMPO ANCOR DIELETR URB SGL 15KV 14,0-16,5MM 400DAN | GRAMPO ANCOR DIELETR URB SGL 36,2KV 31,6-34,9MM 400DAN
90449 | 90457 | GRAMPO ANCOR DIELETR URB SGL 15KV 14,0-16,5MM 400DAN | GRAMPO ANCOR DIELETR URB SGL 36,2KV 31,6-34,9MM 400DAN
90457 | 90449 | GRAMPO ANCOR DIELETR URB SGL 36,2KV 31,6-34,9MM 400DAN | GRAMPO ANCOR DIELETR URB SGL 15KV 14,0-16,5MM 400DAN
90638 | 90462 | HASTE ATERRAMENTO CIRC C/RSC 2400MM 14,3MM 0.254MMM | HASTE ATERRAMENTO CIRC S/RSC 2400MM 14,3MM 0.254MMM
90638 | 90462 | HASTE ATERRAMENTO CIRC C/RSC 2400MM 14,3MM 0.254MMM | HASTE ATERRAMENTO CIRC S/RSC 2400MM 14,3MM 0.254MMM
90462 | 90638 | HASTE ATERRAMENTO CIRC S/RSC 2400MM 14,3MM 0.254MMM | HASTE ATERRAMENTO CIRC C/RSC 2400MM 14,3MM 0.254MMM
90462 | 90638 | HASTE ATERRAMENTO CIRC S/RSC 2400MM 14,3MM 0.254MMM | HASTE ATERRAMENTO CIRC C/RSC 2400MM 14,3MM 0.254MMM
90278 | 90279 | ISOLADOR BASTAO POLIM ANCOR 24.2KV 440MM 625MM 50KN GO | ISOLADOR BASTAO POLIM ANCOR 36.2KV 550MM 745MM 50KN GO
90278 | 90279 | ISOLADOR BASTAO POLIM ANCOR 24.2KV 440MM 625MM 50KN GO | ISOLADOR BASTAO POLIM ANCOR 36.2KV 550MM 745MM 50KN GO
90278 | 90279 | ISOLADOR BASTAO POLIM ANCOR 24.2KV 440MM 625MM 50KN GO | ISOLADOR BASTAO POLIM ANCOR 36.2KV 550MM 745MM 50KN GO
90279 | 90278 | ISOLADOR BASTAO POLIM ANCOR 36.2KV 550MM 745MM 50KN GO | ISOLADOR BASTAO POLIM ANCOR 24.2KV 440MM 625MM 50KN GO
90279 | 90278 | ISOLADOR BASTAO POLIM ANCOR 36.2KV 550MM 745MM 50KN GO | ISOLADOR BASTAO POLIM ANCOR 24.2KV 440MM 625MM 50KN GO
90279 | 90278 | ISOLADOR BASTAO POLIM ANCOR 36.2KV 550MM 745MM 50KN GO | ISOLADOR BASTAO POLIM ANCOR 24.2KV 440MM 625MM 50KN GO
30272 | 90253 | ISOLADOR HITOP PORCELANA 15KV | ISOLADOR PILAR PORCEL 15,0KV 220MM 300MM 8.0KN M20 CTC
90253 | 90247 | ISOLADOR PILAR PORCEL 15,0KV 220MM 300MM 8.0KN M20 CTC | PINO ISOLADOR TOPO ACO D25 389MM 15KV
90254 | 90580 | ISOLADOR PILAR PORCEL 24,2KV 330MM 530MM 8.0KN M20 CTC | ISOLADOR PILAR PORCEL 36,2KV 400MM 720MM 8.0KN M20 CTC
90580 | 90254 | ISOLADOR PILAR PORCEL 36,2KV 400MM 720MM 8.0KN M20 CTC | ISOLADOR PILAR PORCEL 24,2KV 330MM 530MM 8.0KN M20 CTC
90275 | 90295 | ISOLADOR PINO POLIM 15,0KV 280MM 25MM ANEL 1200DAN CNZ | ISOLADOR ROLDANA PORCELANA 79X76MM 1350DAN MRM
90446 | 90387 | OLHAL P/ PARAFUSO DISTR ACO-GALV 74X35MM 30X18MM 50KN | PORCA OLHAL STD SAE1045 GALV MG M16 78,0MM
90446 | 90387 | OLHAL P/ PARAFUSO DISTR ACO-GALV 74X35MM 30X18MM 50KN | PORCA OLHAL STD SAE1045 GALV MG M16 78,0MM
92391 | 90374 | PARAFUSO DISTR CAB ABAU ACO-GALV M16 100MM 5000DAN | PARAFUSO DISTR CAB ABAU ACO-GALV M16 150MM 5000DAN
90374 | 90363 | PARAFUSO DISTR CAB ABAU ACO-GALV M16 150MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 250MM 5000DAN
90374 | 92391 | PARAFUSO DISTR CAB ABAU ACO-GALV M16 150MM 5000DAN | PARAFUSO DISTR CAB ABAU ACO-GALV M16 100MM 5000DAN
90372 | 90373 | PARAFUSO DISTR CAB ABAU ACO-GALV M16 45MM 5000DAN | PARAFUSO DISTR CAB ABAU ACO-GALV M16 70MM 5000DAN
90373 | 90359 | PARAFUSO DISTR CAB ABAU ACO-GALV M16 70MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 100MM 5000DAN
90373 | 90372 | PARAFUSO DISTR CAB ABAU ACO-GALV M16 70MM 5000DAN | PARAFUSO DISTR CAB ABAU ACO-GALV M16 45MM 5000DAN
90359 | 90360 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 100MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 125MM 5000DAN
90359 | 90373 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 100MM 5000DAN | PARAFUSO DISTR CAB ABAU ACO-GALV M16 70MM 5000DAN
90360 | 90361 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 125MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 150MM 5000DAN
90360 | 90359 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 125MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 100MM 5000DAN
90360 | 90361 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 125MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 150MM 5000DAN
90361 | 90366 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 150MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 400MM 5000DAN
90361 | 90360 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 150MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 125MM 5000DAN
90361 | 90360 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 150MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 125MM 5000DAN
90361 | 90362 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 150MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 200MM 5000DAN
90362 | 90376 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 200MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN
90362 | 90361 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 200MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 150MM 5000DAN
90362 | 90375 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 200MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 200MM 5000DAN
90363 | 90376 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN
90363 | 90374 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR CAB ABAU ACO-GALV M16 150MM 5000DAN
90363 | 90364 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 300MM 5000DAN
90364 | 90365 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 300MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 350MM 5000DAN
90364 | 90376 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 300MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN
90364 | 90363 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 300MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 250MM 5000DAN
90365 | 90376 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 350MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN
90365 | 90364 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 350MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 300MM 5000DAN
90366 | 90376 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 400MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN
90366 | 90361 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 400MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 150MM 5000DAN
90366 | 90376 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 400MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN
90367 | 90376 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 450MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN
90367 | 90380 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 450MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 450MM 5000DAN
90368 | 90369 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 500MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 550MM 5000DAN
90358 | 90377 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 50MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN
90358 | 90377 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 50MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN
90369 | 90381 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 550MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 600MM 5000DAN
90369 | 90368 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 550MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 500MM 5000DAN
90381 | 90370 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 600MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 650MM 5000DAN
90381 | 90369 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 600MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 550MM 5000DAN
90370 | 90371 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 650MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 700MM 5000DAN
90370 | 90381 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 650MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 600MM 5000DAN
90371 | 91291 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 700MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 750MM 5000DAN
90371 | 90370 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 700MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 650MM 5000DAN
91291 | 91292 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 750MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 800MM 5000DAN
91291 | 90371 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 750MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 700MM 5000DAN
91292 | 91293 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 800MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 850MM 5000DAN
91292 | 91291 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 800MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 750MM 5000DAN
91293 | 91294 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 850MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 900MM 5000DAN
91293 | 91292 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 850MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 800MM 5000DAN
91294 | 91295 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 900MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 950MM 5000DAN
91294 | 91293 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 900MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 850MM 5000DAN
91295 | 92448 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 950MM 5000DAN | PARAFUSO DISTR CAB SEXT ACO-GALV M12 40MM 100DAN
91295 | 91294 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 950MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 900MM 5000DAN
92448 | 92449 | PARAFUSO DISTR CAB SEXT ACO-GALV M12 40MM 100DAN | PARAFUSO DISTR CAB SEXT ACO-GALV M12 50MM 100DAN
92448 | 91295 | PARAFUSO DISTR CAB SEXT ACO-GALV M12 40MM 100DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 950MM 5000DAN
92449 | 92450 | PARAFUSO DISTR CAB SEXT ACO-GALV M12 50MM 100DAN | PARAFUSO DISTR CAB SEXT COBRE-FOSF M12 40MM 100DAN
92449 | 92448 | PARAFUSO DISTR CAB SEXT ACO-GALV M12 50MM 100DAN | PARAFUSO DISTR CAB SEXT ACO-GALV M12 40MM 100DAN
92450 | 92451 | PARAFUSO DISTR CAB SEXT COBRE-FOSF M12 40MM 100DAN | PARAFUSO DISTR CAB SEXT COBRE-FOSF M12 50MM 100DAN
92450 | 92449 | PARAFUSO DISTR CAB SEXT COBRE-FOSF M12 40MM 100DAN | PARAFUSO DISTR CAB SEXT ACO-GALV M12 50MM 100DAN
92451 | 90375 | PARAFUSO DISTR CAB SEXT COBRE-FOSF M12 50MM 100DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 200MM 5000DAN
92451 | 92450 | PARAFUSO DISTR CAB SEXT COBRE-FOSF M12 50MM 100DAN | PARAFUSO DISTR CAB SEXT COBRE-FOSF M12 40MM 100DAN
90375 | 90376 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 200MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN
90375 | 92451 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 200MM 5000DAN | PARAFUSO DISTR CAB SEXT COBRE-FOSF M12 50MM 100DAN
90375 | 90362 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 200MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 200MM 5000DAN
90376 | 90377 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN
90376 | 90362 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 200MM 5000DAN
90376 | 90363 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 250MM 5000DAN
90376 | 90365 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 350MM 5000DAN
90376 | 90366 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 400MM 5000DAN
90376 | 90367 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 450MM 5000DAN
90376 | 90375 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 200MM 5000DAN
90376 | 90376 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN
90376 | 90364 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 300MM 5000DAN
90376 | 90366 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 400MM 5000DAN
90376 | 90376 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN
90377 | 90378 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 350MM 5000DAN
90377 | 90358 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 50MM 5000DAN
90377 | 90376 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 250MM 5000DAN
90377 | 90385 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 650MM 5000DAN
90377 | 90358 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 50MM 5000DAN
90377 | 90385 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 650MM 5000DAN
90378 | 90380 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 350MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 450MM 5000DAN
90378 | 90377 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 350MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN
90378 | 90380 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 350MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 450MM 5000DAN
90379 | 90380 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 400MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 450MM 5000DAN
90380 | 90382 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 450MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 500MM 5000DAN
90380 | 90378 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 450MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 350MM 5000DAN
90380 | 90379 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 450MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 400MM 5000DAN
90380 | 90367 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 450MM 5000DAN | PARAFUSO DISTR CAB QUAD ACO-GALV M16 450MM 5000DAN
90380 | 90378 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 450MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 350MM 5000DAN
90382 | 90383 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 500MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 550MM 5000DAN
90382 | 90384 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 500MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 600MM 5000DAN
90382 | 90380 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 500MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 450MM 5000DAN
90382 | 90384 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 500MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 600MM 5000DAN
90383 | 90384 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 550MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 600MM 5000DAN
90383 | 90382 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 550MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 500MM 5000DAN
90384 | 90382 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 600MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 500MM 5000DAN
90384 | 90383 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 600MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 550MM 5000DAN
90384 | 90382 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 600MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 500MM 5000DAN
90384 | 90386 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 600MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 700MM 5000DAN
90385 | 90377 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 650MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN
90385 | 90377 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 650MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN
90386 | 92396 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 700MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 750MM 5000DAN
90386 | 90384 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 700MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 600MM 5000DAN
92396 | 92397 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 750MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 800MM 5000DAN
92396 | 90386 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 750MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 700MM 5000DAN
92397 | 92398 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 800MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 850MM 5000DAN
92397 | 92396 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 800MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 750MM 5000DAN
92398 | 92399 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 850MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 900MM 5000DAN
92398 | 92397 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 850MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 800MM 5000DAN
92399 | 92400 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 900MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 950MM 5000DAN
92399 | 92398 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 900MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 850MM 5000DAN
92400 | 92399 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 950MM 5000DAN | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 900MM 5000DAN
90207 | 90208 | PARA-RAIOS DISTR BT POLIM 127V 10KA OX MT S/CENT RSI | PARA-RAIOS DISTR BT POLIM 220V 10KA OX MT S/CENT RSI
90207 | 90208 | PARA-RAIOS DISTR BT POLIM 127V 10KA OX MT S/CENT RSI | PARA-RAIOS DISTR BT POLIM 220V 10KA OX MT S/CENT RSI
90208 | 90207 | PARA-RAIOS DISTR BT POLIM 220V 10KA OX MT S/CENT RSI | PARA-RAIOS DISTR BT POLIM 127V 10KA OX MT S/CENT RSI
90208 | 90207 | PARA-RAIOS DISTR BT POLIM 220V 10KA OX MT S/CENT RSI | PARA-RAIOS DISTR BT POLIM 127V 10KA OX MT S/CENT RSI
90209 | 90210 | PARA-RAIOS DISTR MT POLIM 10KV 10KA OX ZN S/CENT S/FERR | PARA-RAIOS DISTR MT POLIM 12KV 10KA OX ZN S/CENT S/FERR
90209 | 90210 | PARA-RAIOS DISTR MT POLIM 10KV 10KA OX ZN S/CENT S/FERR | PARA-RAIOS DISTR MT POLIM 12KV 10KA OX ZN S/CENT S/FERR
90210 | 90209 | PARA-RAIOS DISTR MT POLIM 12KV 10KA OX ZN S/CENT S/FERR | PARA-RAIOS DISTR MT POLIM 10KV 10KA OX ZN S/CENT S/FERR
90210 | 90209 | PARA-RAIOS DISTR MT POLIM 12KV 10KA OX ZN S/CENT S/FERR | PARA-RAIOS DISTR MT POLIM 10KV 10KA OX ZN S/CENT S/FERR
91117 | 91057 | PEC BIF PST METALICO 7000X80X80X3MM 90DAN 25MM 16MM2 | PEC MONOF PST METALICO 7000X80X80X3MM 90DAN 25MM 16MM2 PERDA
91057 | 91117 | PEC MONOF PST METALICO 7000X80X80X3MM 90DAN 25MM 16MM2 PERDA | PEC BIF PST METALICO 7000X80X80X3MM 90DAN 25MM 16MM2
8442 | 90251 | PINO ISOL AUTO TRAV 20X150MM | PINO ISOLADOR AUTOTRAVANTE ACO M20/M16 168,5MM
90251 | 8442 | PINO ISOLADOR AUTOTRAVANTE ACO M20/M16 168,5MM | PINO ISOL AUTO TRAV 20X150MM
90252 | 90247 | PINO ISOLADOR AUTOTRAVANTE ACO M20/M16 85,0MM | PINO ISOLADOR TOPO ACO D25 389MM 15KV
90247 | 90252 | PINO ISOLADOR TOPO ACO D25 389MM 15KV | PINO ISOLADOR AUTOTRAVANTE ACO M20/M16 85,0MM
90387 | 90446 | PORCA OLHAL STD SAE1045 GALV MG M16 78,0MM | OLHAL P/ PARAFUSO DISTR ACO-GALV 74X35MM 30X18MM 50KN
90387 | 90446 | PORCA OLHAL STD SAE1045 GALV MG M16 78,0MM | OLHAL P/ PARAFUSO DISTR ACO-GALV 74X35MM 30X18MM 50KN
22792 | 22523 | POSTE DE CONCRETO DT 10/200 | POSTE, DUPLO T, CONCRETO, 10/200KGF
22792 | 22523 | POSTE DE CONCRETO DT 10/200 | POSTE, DUPLO T, CONCRETO, 10/200KGF
91020 | 91022 | POSTE DIST PRFV BS/CIRC TP/QUAD 2P 11M 1000DAN 393MM 188MM | POSTE DIST PRFV BS/CIRC TP/QUAD 2P 11M 300DAN 373MM 168MM
91022 | 91020 | POSTE DIST PRFV BS/CIRC TP/QUAD 2P 11M 300DAN 373MM 168MM | POSTE DIST PRFV BS/CIRC TP/QUAD 2P 11M 1000DAN 393MM 188MM
91022 | 91021 | POSTE DIST PRFV BS/CIRC TP/QUAD 2P 11M 300DAN 373MM 168MM | POSTE DIST PRFV BS/CIRC TP/QUAD 2P 11M 600DAN 383MM 178MM
91021 | 92030 | POSTE DIST PRFV BS/CIRC TP/QUAD 2P 11M 600DAN 383MM 178MM | POSTE DIST PRFV CIRCULAR 1P 11M 600DAN 380MM 175MM
92030 | 91021 | POSTE DIST PRFV CIRCULAR 1P 11M 600DAN 380MM 175MM | POSTE DIST PRFV BS/CIRC TP/QUAD 2P 11M 600DAN 383MM 178MM
90194 | 91044 | POSTE DISTR CONCR DT 10M 300DAN 310X420MM 110X140MM CL2 | POSTE DISTR CONCR DT 10M 300DAN 310X420MM 110X140MM CL4
91044 | 90194 | POSTE DISTR CONCR DT 10M 300DAN 310X420MM 110X140MM CL4 | POSTE DISTR CONCR DT 10M 300DAN 310X420MM 110X140MM CL2
90195 | 91045 | POSTE DISTR CONCR DT 10M 600DAN 310X420MM 110X140MM CL2 | POSTE DISTR CONCR DT 10M 600DAN 310X420MM 110X140MM CL4
91045 | 90195 | POSTE DISTR CONCR DT 10M 600DAN 310X420MM 110X140MM CL4 | POSTE DISTR CONCR DT 10M 600DAN 310X420MM 110X140MM CL2
90203 | 90670 | POSTE DISTR CONCR DT 12M 600DAN 350X476MM 110X140MM CL2 | POSTE DISTR CONCR DT 12M 600DAN 350X476MM 110X140MM CL4
90203 | 90189 | POSTE DISTR CONCR DT 12M 600DAN 350X476MM 110X140MM CL2 | POSTE DISTR CONCR CIRC 12M 600DAN 430MM 190MM CL2
90203 | 90670 | POSTE DISTR CONCR DT 12M 600DAN 350X476MM 110X140MM CL2 | POSTE DISTR CONCR DT 12M 600DAN 350X476MM 110X140MM CL4
90670 | 90203 | POSTE DISTR CONCR DT 12M 600DAN 350X476MM 110X140MM CL4 | POSTE DISTR CONCR DT 12M 600DAN 350X476MM 110X140MM CL2
90670 | 90203 | POSTE DISTR CONCR DT 12M 600DAN 350X476MM 110X140MM CL4 | POSTE DISTR CONCR DT 12M 600DAN 350X476MM 110X140MM CL2
22523 | 22792 | POSTE, DUPLO T, CONCRETO, 10/200KGF | POSTE DE CONCRETO DT 10/200
22523 | 22792 | POSTE, DUPLO T, CONCRETO, 10/200KGF | POSTE DE CONCRETO DT 10/200
22525 | 22798 | POSTE;DUPLO T;CONCRETO;11 M;400 DAN; | POSTE DE CONCRETO DT 11/400
22507 | 90345 | PT 40B EL AZUL+ESTRIBO LATERAL P/CUNHA TIPO II. | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM
22507 | 90345 | PT 40B EL AZUL+ESTRIBO LATERAL P/CUNHA TIPO II. | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM
90801 | 90522 | SUPORTE CHAVE INCL ACO-GALV 30GR 220X235X80MM 400DAN | SUPORTE TIPO L CRUZETA ACO-GALV 205X85X38X8MM 200DAN
90902 | 90905 | SUPORTE EQUIP DT SMP ACO-GALV 195X100MM 360X76X8MM 3000DAN | SUPORTE EQUIP DT SMP ACO-GALV 230X125MM 360X76X8MM 3000DAN
90905 | 90902 | SUPORTE EQUIP DT SMP ACO-GALV 230X125MM 360X76X8MM 3000DAN | SUPORTE EQUIP DT SMP ACO-GALV 195X100MM 360X76X8MM 3000DAN
90524 | 90525 | SUPORTE ISOLADOR PILAR ACO-GALV 15KV 305X90X35MM 210DAN | SUPORTE ISOLADOR PILAR ACO-GALV 36,2KV 640X90X40MM 210DAN
90525 | 90524 | SUPORTE ISOLADOR PILAR ACO-GALV 36,2KV 640X90X40MM 210DAN | SUPORTE ISOLADOR PILAR ACO-GALV 15KV 305X90X35MM 210DAN
90522 | 90523 | SUPORTE TIPO L CRUZETA ACO-GALV 205X85X38X8MM 200DAN | SUPORTE TIPO Z ACO-GALV 15/36,2KV 85X113X85X9,5MM 400DAN
90522 | 90801 | SUPORTE TIPO L CRUZETA ACO-GALV 205X85X38X8MM 200DAN | SUPORTE CHAVE INCL ACO-GALV 30GR 220X235X80MM 400DAN
90523 | 90522 | SUPORTE TIPO Z ACO-GALV 15/36,2KV 85X113X85X9,5MM 400DAN | SUPORTE TIPO L CRUZETA ACO-GALV 205X85X38X8MM 200DAN
90422 | 90423 | SUPORTE TRANSF ESP PST DT ACO GALV 230X150X10MM 3000DAN | SUPORTE TRANSF ESP PST DT ACO GALV 360X76X10MM 3000DAN
90423 | 90422 | SUPORTE TRANSF ESP PST DT ACO GALV 360X76X10MM 3000DAN | SUPORTE TRANSF ESP PST DT ACO GALV 230X150X10MM 3000DAN
90045 | 91008 | TRANSF DISTR AER OMI 1F 7,969KV 230/115V 15KVA CL2 5TP | TRANSF DISTR AER OMI 1F 7,969KV 240/120V 15KVA CL2 5TP
91027 | 91610 | TRANSF DISTR AER OMI 1F 7,969KV 240/120V 10KVA CL2 5TP | TRANSF DISTR AER OVI 1F 7,967KV 230/115V 10KVA CL2 5TP
91008 | 91617 | TRANSF DISTR AER OMI 1F 7,969KV 240/120V 15KVA CL2 5TP | TRANSF DISTR AER OVI 1F 7,967KV 240/120V 15KVA CL2 5TP
91008 | 90045 | TRANSF DISTR AER OMI 1F 7,969KV 240/120V 15KVA CL2 5TP | TRANSF DISTR AER OMI 1F 7,969KV 230/115V 15KVA CL2 5TP
91007 | 91615 | TRANSF DISTR AER OMI 1F 7,969KV 240/120V 25KVA CL2 5TP | TRANSF DISTR AER OVI 1F 7,967KV 230/115V 25KVA CL4 5TP
90048 | 91130 | TRANSF DISTR AER OMI 3F 13,8KV 220/127V 112,5KVA CL2 4TP | TRANSF DISTR AER OVI 3F 13,8KV 220/127V 112,5KVA CL2 4TP
90048 | 91130 | TRANSF DISTR AER OMI 3F 13,8KV 220/127V 112,5KVA CL2 4TP | TRANSF DISTR AER OVI 3F 13,8KV 220/127V 112,5KVA CL2 4TP
91025 | 91177 | TRANSF DISTR AER OMI 3F 13,8KV 380/220V 15KVA CL4 4TP | TRANSF DISTR AER OVI 3F 13,8KV 220/127V 15KVA CL4 4TP
91610 | 91027 | TRANSF DISTR AER OVI 1F 7,967KV 230/115V 10KVA CL2 5TP | TRANSF DISTR AER OMI 1F 7,969KV 240/120V 10KVA CL2 5TP
91615 | 91007 | TRANSF DISTR AER OVI 1F 7,967KV 230/115V 25KVA CL4 5TP | TRANSF DISTR AER OMI 1F 7,969KV 240/120V 25KVA CL2 5TP
91617 | 91008 | TRANSF DISTR AER OVI 1F 7,967KV 240/120V 15KVA CL2 5TP | TRANSF DISTR AER OMI 1F 7,969KV 240/120V 15KVA CL2 5TP
91617 | 91126 | TRANSF DISTR AER OVI 1F 7,967KV 240/120V 15KVA CL2 5TP | TRANSF DISTR AER OVI 3F 13,8KV 220/127V 15KVA CL2 4TP
91130 | 90048 | TRANSF DISTR AER OVI 3F 13,8KV 220/127V 112,5KVA CL2 4TP | TRANSF DISTR AER OMI 3F 13,8KV 220/127V 112,5KVA CL2 4TP
91126 | 91617 | TRANSF DISTR AER OVI 3F 13,8KV 220/127V 15KVA CL2 4TP | TRANSF DISTR AER OVI 1F 7,967KV 240/120V 15KVA CL2 5TP
91177 | 91025 | TRANSF DISTR AER OVI 3F 13,8KV 220/127V 15KVA CL4 4TP | TRANSF DISTR AER OMI 3F 13,8KV 380/220V 15KVA CL4 4TP
623429 | 91029 | TRANSF DISTR AEREO 19,919KV 230V 5KVA 1F F/N | TRANSF DISTR AER OMI 1F 19,919KV 240/120V 5KVA CL2 5TP
90787 | 90786 | FIXADOR PREF ACO-ZN MR-AR 9,5MM 1070MM LRJ
90894 | 590894 | ISOLADOR CASTANHA PORCELANA 85X90MM 60MM 3400DAN MRM
90471 | 90791 | CONECTOR CUNHA ALUM CN-10 8,23-14,53/4,11-11,79MM AZL
90361 | 90362 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 200MM 5000DAN
90355 | 90353 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 16-120MM2/4,0-35MM2
90490 | 90791 | CONECTOR CUNHA ALUM CN-10 8,23-14,53/4,11-11,79MM AZL
591616 | 91616 | TRANSF DISTR AER OVI 1F 7,967KV 240/120V 10KVA CL2 5TP
90365 | 90364 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 300MM 5000DAN
90346 | 90347 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 11,20-13,30MM/2AWG AZ
22507 | 90346 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 9,06-11,34MM/2AWG AZ
90414 | 90414 | FITA ISOLANTE AUTOFUSAO 35KV 5M 19X0,76MM PRT
90415 | 90415 | FITA ISOLANTE SIMPLES 750V 10M 19X0,76MM PRT
90341 | 90341 | CONECT TERM ESTRANG CB/BAR ALUM 2F 106X22MM 9.00-9.70MM
90487 | 90486 | CARTUCHO CONECTOR CUNHA METAL 24,3X5,7X7,0MM AMARELO
90284 | 90288 | CABO ALUM MULTIPLEX 0,6/1,0KV XLPE 3F 3X1X35MM2+35MM2
90363 | 90375 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 200MM 5000DAN
90345 | 90347 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 11,20-13,30MM/2AWG AZ
90376 | 90377 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN
90457 | 90449 | GRAMPO ANCOR DIELETR URB SGL 15KV 14,0-16,5MM 400DAN
90358 | 90377 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN
90522 | 90523 | SUPORTE TIPO Z ACO-GALV 15/36,2KV 85X113X85X9,5MM 400DAN
90269 | 90292 | CABO ALUM PROT SPL XLPE 1F 36,2KV 120MM2 BLOQ CNZ
90209 | 90210 | PARA-RAIOS DISTR MT POLIM 12KV 10KA OX ZN S/CENT S/FERR
90198 | 590198 | POSTE DISTR CONCR DT 11M 300DAN 330X448MM 110X140MM CL2
90525 | 90524 | SUPORTE ISOLADOR PILAR ACO-GALV 15KV 305X90X35MM 210DAN
90363 | 90366 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 400MM 5000DAN
90361 | 90364 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 300MM 5000DAN
90524 | 90525 | SUPORTE ISOLADOR PILAR ACO-GALV 36,2KV 640X90X40MM 210DAN
90013 | 90306 | ALCA PREF DISTR ACO-ZINC 7,30-8,20MM 610MM VRM
90415 | 91235 | FITA ISOLANTE SIMPLES 750V 20M 19X0,76MM PRT
22792 | 22523 | POSTE, DUPLO T, CONCRETO, 10/200KGF
90385 | 90377 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 300MM 5000DAN
91029 | 623429 | TRANSF DISTR AEREO 19,919KV 230V 5KVA 1F F/N
90654 | 90654 | SUPORTE TIPO T ACO-GALV 36,2KV 800X195X50MM 200DAN
90547 | 90547 | CHAVE FUSIV DISTR PRC BSC 15,0KV 300A 1F MAN SEC
90210 | 90210 | PARA-RAIOS DISTR MT POLIM 12KV 10KA OX ZN S/CENT S/FERR
90498 | 90498 | ELO FUSIVEL DISTRIBUICAO TIPO H 1A 500MM
92172 | 92172 | CONECTOR GRAMPO LINHA VIVA ALUM 34-170MM2/ESTRIBO 6,4MM 100A
90345 | 90345 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM
90257 | 90835 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2
91190 | 90835 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2
90269 | 90266 | CABO ALUM PROT SPL XLPE 1F 15,0KV 50MM2 BLOQ CNZ
90208 | 90207 | PARA-RAIOS DISTR BT POLIM 127V 10KA OX MT S/CENT RSI
90836 | 90835 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2
91027 | 91027 | TRANSF DISTR AER OMI 1F 7,969KV 240/120V 10KVA CL2 5TP
90266 | 90266 | CABO ALUM PROT SPL XLPE 1F 15,0KV 50MM2 BLOQ CNZ
90683 | 90683 | ALCA PREF DISTR ACO-ZINC 5,70-6,45MM 430MM LRJ
91616 | 91616 | TRANSF DISTR AER OVI 1F 7,967KV 240/120V 10KVA CL2 5TP
90443 | 90443 | MAO FRANCESA PLANA ACO GALV 619X32MM 5MM 3000DAN
90444 | 90444 | MAO FRANCESA PLANA ACO GALV 726X32MM 5MM 3000DAN
90460 | 90460 | CONECTOR GRAMPO LINHA VIVA COBR 2-1/0AWG/8-2/0AWG 100A
90525 | 90525 | SUPORTE ISOLADOR PILAR ACO-GALV 36,2KV 640X90X40MM 210DAN
90524 | 90524 | SUPORTE ISOLADOR PILAR ACO-GALV 15KV 305X90X35MM 210DAN
90586 | 90586 | CAPA PROTETORA TRANSF MT PEAD 15/36,2KV 135X110MM
90391 | 90391 | FIO AMARRACAO ALUMINIO MOLE 1F 6AWG 4.11MM 80DAN
90365 | 90365 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 350MM 5000DAN
90798 | 90798 | CONECTOR CUNHA ALUM CN-15 10,40-14,53/10,40-14,53MM AZL
90278 | 90279 | ISOLADOR BASTAO POLIM ANCOR 36.2KV 550MM 745MM 50KN GO
91007 | 91007 | TRANSF DISTR AER OMI 1F 7,969KV 240/120V 25KVA CL2 5TP
90288 | 90288 | CABO ALUM MULTIPLEX 0,6/1,0KV XLPE 3F 3X1X35MM2+35MM2
90791 | 90791 | CONECTOR CUNHA ALUM CN-10 8,23-14,53/4,11-11,79MM AZL
90203 | 90203 | POSTE DISTR CONCR DT 12M 600DAN 350X476MM 110X140MM CL2
90257 | 90257 | CABO ACO COBREADO 1F LCA IACS53% 7X2,06MM 25MM2
690933 | 690375 | RELIGADOR AUTOM EXT 1F BC VAC 29KV 100A 4,0KA AUT C/CH
22509 | 22509 | FIO ELETRICO NU 6 AWG MOLE DE LIGA DE ALUMINIO P/ AMARRACOES
90522 | 90544 | BRACO COMP TIPO L 15KV ACO-GALV 354X241MM
90363 | 90364 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 300MM 5000DAN
90500 | 90501 | ELO FUSIVEL DISTRIBUICAO TIPO H 5A 500MM
90353 | 90355 | CONECTOR DERIV PERF RSI CB/CB 1,0KV 35-120MM2/10-35MM2
90366 | 90364 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 300MM 5000DAN
91130 | 90048 | TRANSF DISTR AER OMI 3F 13,8KV 220/127V 112,5KVA CL2 4TP
90361 | 90382 | PARAFUSO DISTR ROSC TOTAL ACO-GALV M16 500MM 5000DAN
90349 | 90345 | CONEC DERIV CUNHA-ESTRIBO ALUM/COBR 5,88-8,01MM/2AWG VM
90542 | 90542 | BRACO COMP TIPO C 15KV ACO-GALV 580X365X362MM
90347 | 90459 | ALCA ESTRIBO NORM COMPR COBRE 100A 70X110MM 6,5MM
91020 | 91022 | POSTE DIST PRFV BS/CIRC TP/QUAD 2P 11M 300DAN 373MM 168MM
90363 | 90363 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 250MM 5000DAN
90256 | 90255 | CORDOALHA ACO CARB CL A 7 FIOS MR 6,4MM 1430DAN
90302 | 90301 | ALCA PREF CORD ACO-ZN 6,40MM 5X2.18MM 460MM AMR
90376 | 90363 | PARAFUSO DISTR CAB QUAD ACO-GALV M16 250MM 5000DAN
646949 | 92027 | POSTE DIST PRFV CIRCULAR 1P 10M 300DAN 360MM 165MM
90616 | 91616 | TRANSF DISTR AER OVI 1F 7,967KV 240/120V 10KVA CL2 5TP
91126 | 91617 | TRANSF DISTR AER OVI 1F 7,967KV 240/120V 15KVA CL2 5TP
90446 | 90387 | PORCA OLHAL STD SAE1045 GALV MG M16 78,0MM
91026 | 90047 | TRANSF DISTR AER OMI 1F 7,969KV 230/115V 5KVA CL2 5TP
90498 | 90497 | ELO FUSIVEL DISTRIBUICAO TIPO H 0,5A 500MM
90389 | 590389 | ARRUELA QUADRADA ACO GALV 38X18X3MM
90835 | 590835 | CABO ACO COBREADO 1F LCA IACS53% 7X2,59MM 35MM2
91616 | 91617 | TRANSF DISTR AER OVI 1F 7,967KV 240/120V 15KVA CL2 5TP
91021 | 92030 | POSTE DIST PRFV CIRCULAR 1P 11M 600DAN 380MM 175MM